## Lotto 12_Calibrazioni diossine – PCB – PBDE
ALLEGATO C – (Modello di “Preventivo di spesa”) / Avviso di indagine esplorativa finalizzata all’acquisizione di preventivi di spesa per l’individuazione di un operatore economico con cui negoziare in affidamento diretto, ai sensi dell’art. 36, comma 2, lett. a) del D. Lgs. n. 50/2016 e s.m.i., di un Accordo Quadro ex art. 54 del D. Lgs. n.50/2016 e s.m.i. per la fornitura di standard Lotto 12 "Calibrazioni diossine PCB PBDE" di cui alla scheda di dettaglio tecnico (allegato A), per lo svolgimento delle attività analitiche del Settore Laboratorio di ARPAT - Area Vasta Costa, per la durata di mesi 12 (dodici) decorrenti dalla data del primo ordine/contratto attuativo o comunque fino all'esaurimento dell'importo contrattuale. PREVENTIVO DI SPESA / Denominazione impresa:______________________________
	Informazioni della stazione appaltante					Da compilare a cura della ditta offerente
Pos.	Descrizione del prodotto	Formato/conf.	Codice di riferimento	Prezzo unitario presunto, soggetto a ribasso	Quantitativo richiesto presunto annuo	Settore Area Vasta Costa di riferimento		Denominazione commerciale dell’offerente	Formato/conf offerta	Codice del prodotto offerto	Prezzo unitario offerto	Presso complessivo offerto
	CALIBRAZIONI: DIOSSINE – PCB – PBDE					CALIBRAZIONI: DIOSSINE – PCB – PBDE

12.1	EPA Method 1668C labeled toxics/LOC/ window defining stock solution	1,2 mL	CILEC4977 (o Wellington 68C-LCS)	€ 2.600,00	2	L Microinq.org.					€ 0,00	€ 0,00
	2-Chloro[13C12]biphenyl 1000 ng/mL
	4-Chloro[13C12]biphenyl 1000 ng/mL
	2,2'-Dichloro[13C12]biphenyl 1000 ng/mL
	4,4'-Dichloro[13C12]biphenyl 1000 ng/mL
	2,2',6-Trichloro[13C12]biphenyl 1000 ng/mL
	3,4,4'-Trichloro[13C12]biphenyl 1000 ng/mL
	2,2',6,6'-Tetrachloro[13C12]biphenyl 1000 ng/mL
	3,3',4,4'-Tetrachloro[13C12]biphenyl 1000 ng/mL
	3,4,4',5-Tetrachloro[13C12]biphenyl 1000 ng/mL
	2,2',4,6,6'-Pentachloro[13C12]biphenyl 1000 ng/mL
	2,3,3',4,4'-Pentachloro[13C12]biphenyl 1000 ng/mL
	2,3,4,4',5-Pentachloro[13C12]biphenyl 1000 ng/mL
	2,3',4,4',5-Pentachloro[13C12]biphenyl 1000 ng/mL
	2',3,4,4',5-Pentachloro[13C12]biphenyl 1000 ng/mL
	3,3',4,4',5-Pentachloro[13C12]biphenyl 1000 ng/mL
	2,2',4,4',6,6'-Hexachloro[13C12]biphenyl 1000 ng/mL
	2,3,3',4,4',5-Hexachloro[13C12]biphenyl 1000 ng/mL
	2,3,3',4,4',5'-Hexachloro[13C12]biphenyl 1000 ng/mL
	2,3',4,4',5,5'-Hexachloro[13C12]biphenyl 1000 ng/mL
	3,3',4,4',5,5'-Hexachloro[13C12]biphenyl 1000 ng/mL
	2,2',3,4',5,6,6'-Heptachloro[13C12]biphenyl 1000 ng/mL
	2,3,3',4,4',5,5'-Heptachloro[13C12]biphenyl 1000 ng/mL
	2,2',3,3',5,5',6,6'-Octachloro[13C12]biphenyl 1000 ng/mL
	2,3,3',4,4',5,5',6-Octachloro[13C12]biphenyl 1000 ng/mL
	2,2',3,3',4,4',5,5',6-Nonachloro[13C12]biphenyl 1000 ng/mL
	2,2',3,3',4,5,5',6,6'-Nonachloro[13C12]biphenyl 1000 ng/mL
	Decachloro[13C12]biphenyl 1000 ng/mL

12.2	Extended Calibration/Low Level	1 fiala da 500 uL	WELEN1948CSL	€ 750,00	1	L Microinq.org.					€ 0,00	€ 0,00
	NATIVE PCDDs & PCDFs a 0,004 & 0,08 6 0,16 pg/µl in nonano
	2,3,7,8-Tetrachlorodibenzo-p-dioxin 0.04 pg/µl
	1,2,3,7,8-Pentachlorodibenzo-p-dioxin 0.08 pg/µl
	1,2,3,4,7,8-Hexachlorodibenzo-p-dioxin 0.08 pg/µl
	1,2,3,6,7,8-Hexachlorodibenzo-p-dioxin 0.08 pg/µl
	1,2,3,7,8,9-Hexachlorodibenzo-p-dioxin 0.08 pg/µl
	1,2,3,4,6,7,8-Heptachlorodibenzo-p-dioxin 0.16 pg/µl
	Octachlorodibenzo-p-dioxin 0.16 pg/µl
	2,3,7,8-Tetrachlorodibenzofuran 0.04 pg/µl
	1,2,3,7,8-Pentachlorodibenzofuran 0.08 pg/µl
	2,3,4,7,8-Pentachlorodibenzofuran 0.08 pg/µl
	1,2,3,4,7,8-Hexachlorodibenzofuran 0.08 pg/µl
	1,2,3,6,7,8-Hexachlorodibenzofuran 0.08 pg/µl
	1,2,3,7,8,9-Hexachlorodibenzofuran 0.08 pg/µl
	2,3,4,6,7,8-Hexachlorodibenzofuran 0.08 pg/µl
	1,2,3,4,6,7,8-Heptachlorodibenzofuran 0.16 pg/µl
	1,2,3,4,7,8,9-Heptachlorodibenzofuran 0.16 pg/µl
	Octachlorodibenzofuran 0.16 pg/µl
	SAMPLING STANDARDS
	1,2,3,7,8-Pentachloro[13C12]dibenzofuran 16 pg/µl
	1,2,3,7,8,9-Hexachloro[13C12]dibenzofuran 16 pg/µl
	1,2,3,4,7,8,9-Heptachloro[13C12]dibenzofuran 32 pg/µl
	EXTRACTION STANDARDS
	2,3,7,8-Tetrachloro[13C12]dibenzo-p-dioxin 16 pg/µl
	1,2,3,7,8-Pentachloro[13C12]dibenzo-p-dioxin 16 pg/µl
	1,2,3,4,7,8-Hexachloro[13C12]dibenzo-p-dioxin 16 pg/µl
	1,2,3,6,7,8-Hexachloro[13C12]dibenzo-p-dioxin 16 pg/µl
	1,2,3,4,6,7,8-Heptachloro[13C12]dibenzo-p-dioxin 32 pg/µl
	Octachloro[13C12]dibenzo-p-dioxin 32 pg/µl
	2,3,7,8-Tetrachloro[13C12]dibenzofuran 16 pg/µl
	2,3,4,7,8-Pentachloro[13C12]dibenzofuran 16 pg/µl
	1,2,3,4,7,8-Hexachloro[13C12]dibenzofuran 16 pg/µl
	1,2,3,6,7,8-Hexachloro[13C12]dibenzofuran 16 pg/µl
	2,3,4,6,7,8-Hexachloro[13C12]dibenzofuran 16 pg/µl
	1,2,3,4,6,7,8-Heptachloro[13C12]dibenzofuran 32 pg/µl
	Octachloro[13C12]dibenzofuran 32 pg/µl
	SYRINGE STANDARDS
	1,2,3,4-Tetrachloro[13C12]dibenzo-p-dioxin 16 pg/µl
	1,2,3,7,8,9-Hexachloro[13C12]dibenzo-p-dioxin 16 pg/µl

12.3	Individual calibration solution @ nonane-0.74-9.38% toluene	1 fiala da 500 uL	WELEN-1948CS1	€ 670,00	2	L Microinq.org.					€ 0,00	€ 0,00
	NATIVE PCDDs & PCDFs
	2,3,7,8-Tetrachlorodibenzo-p-dioxin 0.2 pg/µl
	1,2,3,7,8-Pentachlorodibenzo-p-dioxin 0.4 pg/µl
	1,2,3,4,7,8-Hexachlorodibenzo-p-dioxin 0.4 pg/µl
	1,2,3,6,7,8-Hexachlorodibenzo-p-dioxin 0.4 pg/µl
	1,2,3,7,8,9-Hexachlorodibenzo-p-dioxin 0.4 pg/µl
	1,2,3,4,6,7,8-Heptachlorodibenzo-p-dioxin 0.8 pg/µl
	Octachlorodibenzo-p-dioxin 0.8 pg/µl
	2,3,7,8-Tetrachlorodibenzofuran 0.2 pg/µl
	1,2,3,7,8-Pentachlorodibenzofuran 0.4 pg/µl
	2,3,4,7,8-Pentachlorodibenzofuran 0.4 pg/µl
	1,2,3,4,7,8-Hexachlorodibenzofuran 0.4 pg/µl
	1,2,3,6,7,8-Hexachlorodibenzofuran 0.4 pg/µl
	1,2,3,7,8,9-Hexachlorodibenzofuran 0.4 pg/µl
	2,3,4,6,7,8-Hexachlorodibenzofuran 0.4 pg/µl
	1,2,3,4,6,7,8-Heptachlorodibenzofuran 0.8 pg/µl
	1,2,3,4,7,8,9-Heptachlorodibenzofuran 0.8 pg/µl
	Octachlorodibenzofuran 0.8 pg/µl
	SAMPLING STANDARDS
	1,2,3,7,8-Pentachloro[13C12]dibenzofuran 16 pg/µl
	1,2,3,7,8,9-Hexachloro[13C12]dibenzofuran 16 pg/µl
	1,2,3,4,7,8,9-Heptachloro[13C12]dibenzofuran 32 pg/µl
	EXTRACTION STANDARDS
	2,3,7,8-Tetrachloro[13C12]dibenzo-p-dioxin 16 pg/µl
	1,2,3,7,8-Pentachloro[13C12]dibenzo-p-dioxin 16 pg/µl
	1,2,3,4,7,8-Hexachloro[13C12]dibenzo-p-dioxin 16 pg/µl
	1,2,3,6,7,8-Hexachloro[13C12]dibenzo-p-dioxin 16 pg/µl
	1,2,3,4,6,7,8-Heptachloro[13C12]dibenzo-p-dioxin 32 pg/µl
	Octachloro[13C12]dibenzo-p-dioxin 32 pg/µl
	2,3,7,8-Tetrachloro[13C12]dibenzofuran 16 pg/µl
	2,3,4,7,8-Pentachloro[13C12]dibenzofuran 16 pg/µl
	1,2,3,4,7,8-Hexachloro[13C12]dibenzofuran 16 pg/µl
	1,2,3,6,7,8-Hexachloro[13C12]dibenzofuran 16 pg/µl
	2,3,4,6,7,8-Hexachloro[13C12]dibenzofuran 16 pg/µl
	1,2,3,4,6,7,8-Heptachloro[13C12]dibenzofuran 32 pg/µl
	Octachloro[13C12]dibenzofuran 32 pg/µl
	SYRINGE STANDARDS
	1,2,3,4-Tetrachloro[13C12]dibenzo-p-dioxin 16 pg/µl
	1,2,3,7,8,9-Hexachloro[13C12]dibenzo-p-dioxin 16 pg/µl

12.4	Individual calibration solution @ nonane-0.74-9.38% toluene	1 fiala da 500 uL	WELEN-1948CS3	€ 670,00	2	L Microinq.org.					€ 0,00	€ 0,00
	NATIVE PCDDs & PCDFs
	2,3,7,8-Tetrachlorodibenzo-p-dioxin 4 pg/µl
	1,2,3,7,8-Pentachlorodibenzo-p-dioxin 8 pg/µl
	1,2,3,4,7,8-Hexachlorodibenzo-p-dioxin 8 pg/µl
	1,2,3,6,7,8-Hexachlorodibenzo-p-dioxin 8 pg/µl
	1,2,3,7,8,9-Hexachlorodibenzo-p-dioxin 8 pg/µl
	1,2,3,4,6,7,8-Heptachlorodibenzo-p-dioxin 16 pg/µl
	Octachlorodibenzo-p-dioxin 16 pg/µl
	2,3,7,8-Tetrachlorodibenzofuran 4 pg/µl
	1,2,3,7,8-Pentachlorodibenzofuran 8 pg/µl
	2,3,4,7,8-Pentachlorodibenzofuran 8 pg/µl
	1,2,3,4,7,8-Hexachlorodibenzofuran 8 pg/µl
	1,2,3,6,7,8-Hexachlorodibenzofuran 8 pg/µl
	1,2,3,7,8,9-Hexachlorodibenzofuran 8 pg/µl
	2,3,4,6,7,8-Hexachlorodibenzofuran 8 pg/µl
	1,2,3,4,6,7,8-Heptachlorodibenzofuran 16 pg/µl
	1,2,3,4,7,8,9-Heptachlorodibenzofuran 16 pg/µl
	Octachlorodibenzofuran 16 pg/µl
	SAMPLING STANDARDS
	1,2,3,7,8-Pentachloro[13C12]dibenzofuran 16 pg/µl
	1,2,3,7,8,9-Hexachloro[13C12]dibenzofuran 16 pg/µl
	1,2,3,4,7,8,9-Heptachloro[13C12]dibenzofuran 32 pg/µl
	EXTRACTION STANDARDS
	2,3,7,8-Tetrachloro[13C12]dibenzo-p-dioxin 16 pg/µl
	1,2,3,7,8-Pentachloro[13C12]dibenzo-p-dioxin 16 pg/µl
	1,2,3,4,7,8-Hexachloro[13C12]dibenzo-p-dioxin 16 pg/µl
	1,2,3,6,7,8-Hexachloro[13C12]dibenzo-p-dioxin 16 pg/µl
	1,2,3,4,6,7,8-Heptachloro[13C12]dibenzo-p-dioxin 32 pg/µl
	Octachloro[13C12]dibenzo-p-dioxin 32 pg/µl
	2,3,7,8-Tetrachloro[13C12]dibenzofuran 16 pg/µl
	2,3,4,7,8-Pentachloro[13C12]dibenzofuran 16 pg/µl
	1,2,3,4,7,8-Hexachloro[13C12]dibenzofuran 16 pg/µl
	1,2,3,6,7,8-Hexachloro[13C12]dibenzofuran 16 pg/µl
	2,3,4,6,7,8-Hexachloro[13C12]dibenzofuran 16 pg/µl
	1,2,3,4,6,7,8-Heptachloro[13C12]dibenzofuran 32 pg/µl
	Octachloro[13C12]dibenzofuran 32 pg/µl
	SYRINGE STANDARDS
	1,2,3,4-Tetrachloro[13C12]dibenzo-p-dioxin 16 pg/µl
	1,2,3,7,8,9-Hexachloro[13C12]dibenzo-p-dioxin 16 pg/µl

12.5	Individual calibration solution (EPA Method 1668C)	1 fiala da 200 uL	WEL68C-CS0.2	€ 470,00	1	L Microinq.org.					€ 0,00	€ 0,00
	Native Toxics/LOC
	2-Chlorobiphenyl 0.2 ng/mL
	4-Chlorobiphenyl 0.2 ng/mL
	2,2'-Dichlorobiphenyl 0.2 ng/mL
	4,4'-Dichlorobiphenyl 0.2 ng/mL
	2,2',6-Trichlorobiphenyl 0.2 ng/mL
	3,4,4'-Trichlorobiphenyl 0.2 ng/mL
	2,2',6,6'-Tetrachlorobiphenyl 0.2 ng/mL
	3,3',4,4'-Tetrachlorobiphenyl 0.2 ng/mL
	3,4,4',5-Tetrachlorobiphenyl 0.2 ng/mL
	2,2',4,6,6'-Pentachlorobiphenyl 0.2 ng/mL
	2,3,3',4,4'-Pentachlorobiphenyl 0.2 ng/mL
	2,3,4,4',5-Pentachlorobiphenyl 0.2 ng/mL
	2,3',4,4',5-Pentachlorobiphenyl 0.2 ng/mL
	2',3,4,4',5-Pentachlorobiphenyl 0.2 ng/mL
	3,3',4,4',5-Pentachlorobiphenyl 0.2 ng/mL
	2,2',4,4',6,6'-Hexachlorobiphenyl 0.2 ng/mL
	2,3,3',4,4',5-Hexachlorobiphenyl 0.2 ng/mL
	2,3,3',4,4',5'-Hexachlorobiphenyl 0.2 ng/mL
	2,3',4,4',5,5'-Hexachlorobiphenyl 0.2 ng/mL
	3,3',4,4',5,5'-Hexachlorobiphenyl 0.2 ng/mL
	2,2',3,4',5,6,6'-Heptachlorobiphenyl 0.2 ng/mL
	2,3,3',4,4',5,5'-Heptachlorobiphenyl 0.2 ng/mL
	2,2',3,3',5,5',6,6'-Octachlorobiphenyl 0.2 ng/mL
	2,3,3',4,4',5,5',6-Octachlorobiphenyl 0.2 ng/mL
	2,2',3,3',4,4',5,5',6-Nonachlorobiphenyl 0.2 ng/mL
	2,2',3,3',4,5,5',6,6'-Nonachlorobiphenyl 0.2 ng/mL
	Decachlorobiphenyl 0.2 ng/mL
	Labelled Toxics/LOC/Window-Defining
	(68C-LCS)
	2-Chloro[13C12]biphenyl 100 ng/mL
	4-Chloro[13C12]biphenyl 100 ng/mL
	2,2'-Dichloro[13C12]biphenyl 100 ng/mL
	4,4'-Dichloro[13C12]biphenyl 100 ng/mL
	2,2',6-Trichloro[13C12]biphenyl 100 ng/mL
	3,4,4'-Trichloro[13C12]biphenyl 100 ng/mL
	2,2',6,6'-Tetrachloro[13C12]biphenyl 100 ng/mL
	3,3',4,4'-Tetrachloro[13C12]biphenyl 100 ng/mL
	3,4,4',5-Tetrachloro[13C12]biphenyl 100 ng/mL
	2,2',4,6,6'-Pentachloro[13C12]biphenyl 100 ng/mL
	2,3,3',4,4'-Pentachloro[13C12]biphenyl 100 ng/mL
	2,3,4,4',5-Pentachloro[13C12]biphenyl 100 ng/mL
	2,3',4,4',5-Pentachloro[13C12]biphenyl 100 ng/mL
	2',3,4,4',5-Pentachloro[13C12]biphenyl 100 ng/mL
	3,3',4,4',5-Pentachloro[13C12]biphenyl 100 ng/mL
	2,2',4,4',6,6'-Hexachloro[13C12]biphenyl 100 ng/mL
	2,3,3',4,4',5-Hexachloro[13C12]biphenyl 100 ng/mL
	2,3,3',4,4',5'-Hexachloro[13C12]biphenyl 100 ng/mL
	2,3',4,4',5,5'-Hexachloro[13C12]biphenyl 100 ng/mL
	3,3',4,4',5,5'-Hexachloro[13C12]biphenyl 100 ng/mL
	2,2',3,4',5,6,6'-Heptachloro[13C12]biphenyl 100 ng/mL
	2,3,3',4,4',5,5'-Heptachloro[13C12]biphenyl 100 ng/mL
	2,2',3,3',5,5',6,6'-Octachloro[13C12]biphenyl 100 ng/mL
	2,3,3',4,4',5,5',6-Octachloro[13C12]biphenyl 100 ng/mL
	2,2',3,3',4,4',5,5',6-Nonachloro[13C12]biphenyl 100 ng/mL
	2,2',3,3',4,5,5',6,6'-Nonachloro[13C12]biphenyl 100 ng/mL
	Decachloro[13C12]biphenyl 100 ng/mL
	Labelled Clean-Up (68C-CS)
	2,4,4'-Trichloro[13C12]biphenyl 100 ng/mL
	2,3,3',5,5'-Pentachloro[13C12]biphenyl 100 ng/mL
	2,2',3,3',5,5',6-Heptachloro[13C12]biphenyl 100 ng/mL
	Labelled Injection/Internal (68C-IS)
	2,5-Dichloro[13C12]biphenyl 100 ng/mL
	2,2',5,5'-Tetrachloro[13C12]biphenyl 100 ng/mL
	2,2',4,5,5'-Pentachloro[13C12]biphenyl 100 ng/mL
	2,2',3,4,4',5'-Hexachloro[13C12]biphenyl 100 ng/mL
	2,2',3,3',4,4',5,5'-Octachloro[13C12]biphenyl 100 ng/mL

12.6	Materiale di riferimento per retta di taratura diossine (EN-1948CVS Calibration and Verification Solutions CS1.CS6) NOTA: • EN-1948CSL: non è incluso nel kit EN 1948CVS e deve essere ordinato separatamente con cod. EN – 1948CSL (EN-1948CSL: Extended Calibration/Low Level, fiala da 500 µL)	6 fiale da 500 µL	WELEN 1948CVS	€ 2.600,00	1	L Microinq.org.					€ 0,00	€ 0,00
	EN-1948CS1 fiala da 500 µL NATIVE PCDDs & PCDFs: 0.2 & 0.4 & 0.8 pg/µL SAMPLING STANDARDS: 16 & 32 pg/µL EXTRACTION STANDARDS: 16 & 32 pg/µL / SYRINGE STANDARDS: 16 pg/µL
	EN-1948CS2 fiala da 500 µL NATIVE PCDDs & PCDFs: 0.8 & 1.6 & 3.2 pg/µL SAMPLING STANDARDS: 16 & 32 pg/µL EXTRACTION STANDARDS: 16 & 32 pg/µL / SYRINGE STANDARDS: 16 pg/µL
	EN-1948CS3 fiala da 500 µL NATIVE PCDDs & PCDFs: 4 & 8 & 16 pg/µL SAMPLING STANDARDS: 16 & 32 pg/µL EXTRACTION STANDARDS: 16 & 32 pg/µL / SYRINGE STANDARDS: 16 pg/µL
	EN-1948CS4 fiala da 500 µL NATIVE PCDDs & PCDFs: 16 & 32 & 64 pg/µL SAMPLING STANDARDS: 16 & 32 pg/µL EXTRACTION STANDARDS: 16 & 32 pg/µL / SYRINGE STANDARDS: 16 pg/µL
	EN-1948CS5 fiala da 500 µL NATIVE PCDDs & PCDFs: 80 & 160 & 320 pg/µL SAMPLING STANDARDS: 16 & 32 pg/µL EXTRACTION STANDARDS: 16 & 32 pg/µL / SYRINGE STANDARDS: 16 pg/µL
	EN-1948CS6 fiala da 500 µL NATIVE PCDDs & PCDFs: 320 & 640 & 1280 pg/µL SAMPLING STANDARDS: 16 & 32 pg/µL EXTRACTION STANDARDS: 16 & 32 pg/µL / SYRINGE STANDARDS: 16 pg/µL
	NATIVE PCDDs & PCDFs
	2,3,7,8 Tetraclorodibenzo-p-dioxin
	1,2,9,7,8.Pentachlorodibenzo-p-dioxn
	1,2,3,4,7,8-Hexachlorodibenzo-p-dioxin
	1,2,3,6,7.8-Hexachlorodibenzo-pdioxin
	1,2,3,7,8,9-Hexachlorodibenzo-p-dioxin
	1,2,3,4,6,7,8-Heptachlorcdibenzo-p-dioxin
	Octachlorodibenzo-p-dioxin
	2,3,7,8-Tetrachlrodebenzofuran
	1,2.3.7,8.Pentachlorodibenzofuran
	2,3,4,7,8-Pentachloroditenzofuran
	1,2,3,4,7,8-Hexachlorodibenzofuran
	1,2,3,6,7,8-Hexachlorodibenzofuran
	1,2,3,7,8,9.Hexachlorodibenzofuran
	2,3,4,6,7,8-Hexachlorodibenzofuran
	1,2,3,4,6,7,8-Heptachlorodibenzofuran
	1,2,3,4,7,8,9-Heptachlorodibenzofuran
	Octachlorodibenzofuran
	SAMPLING STANDARDS
	1,2.3.7,8.Pentachloro[13C12]dibenzofuran
	1,2,3,7,8,9.Hexachloro[13C12]dibenzofuran
	1,2,3,4,7,8,9-Heptachloro13C12]dibenzofuran
	EXTRACTION STANDARDS
	2,3,7,8 tetracloro[13C12]dibenzo-p-dioxin
	1,2,9,7,8.Pentachloro[13C12]dibenzo-p-dioxn
	1,2,3,4,7,8-Hexachloro[13C12]dibenzo-p-dioxin
	1,2,3,6,7,8-Hexachloro[13C12]dibenzo-p-dioxin
	1,2,3,4,6,7,8-Heptachloro[13C12]dibenzo-p-dioxin
	Octachloro[13C12]dibenzo-p-dioxin
	2,3,7,8-Tetrachbro[13C12]debenzofuran
	2,3,4,7,8-Pentachloro[13C12]ditenzofuran
	1,2,3,4,7,8-Hexachloro[13C12]dibenzofuran
	1,2,3,6,7,8-Hexachloro[13C12]dibenzofuran
	2,3,4,6,7,8-Hexachloro[13C12]dibenzofuran
	1,2,3,4,6,7,8-Heptachloro[13C12]dibenzofuran
	Octachloro[13C12]dibenzofuran
	SYRINGE STANDARDS
	1,2,3,4- tetracloro[13C12]dibenzo-p-dioxin
	1,2,3,7,8,9- Hexachloro[13C12]dibenzo-p-dioxin

12.7	Materiale di riferimento per retta di taratura PCBs Marker / ( EN 1948 – 4:2010 HRGC/HRMS calibration solution for the Marker PCBs )	6 fiale da 500 uL	WELP48-M-CVS	€ 1.350,00	1	L Microinq.org.					€ 0,00	€ 0,00
	P48-M-CS0.1 fiala da 500 µL / NATIVE MARKER PCB CONGENERS (P48-M): 0.1 pg/µL MARKER PCB EXTRACTION SPIKE (P48-M-ES): 100 pg/µL SAMPLING SPIKE (P48-SS): 10 pg/µL RECOVERY SPIKE (P48-RS): 10 pg/µL
	P48-M-CS1 fiala da 500 µL / NATIVE MARKER PCB CONGENERS (P48-M): 1 pg/µL MARKER PCB EXTRACTION SPIKE (P48-M-ES): 100 pg/µL SAMPLING SPIKE (P48-SS): 10 pg/µL RECOVERY SPIKE (P48-RS): 10 pg/µL
	P48-M-CS2 fiala da 500 µL / NATIVE MARKER PCB CONGENERS (P48-M): 10 pg/µL MARKER PCB EXTRACTION SPIKE (P48-M-ES): 100 pg/µL SAMPLING SPIKE (P48-SS): 10 pg/µL RECOVERY SPIKE (P48-RS): 10 pg/µL
	P48-M-CS3 fiala da 500 µL / NATIVE MARKER PCB CONGENERS (P48-M): 100 pg/µL MARKER PCB EXTRACTION SPIKE (P48-M-ES): 100 pg/µL SAMPLING SPIKE (P48-SS): 10 pg/µL RECOVERY SPIKE (P48-RS): 10 pg/µL
	P48-M-CS4 fiala da 500 µL / NATIVE MARKER PCB CONGENERS (P48-M): 500 pg/µL MARKER PCB EXTRACTION SPIKE (P48-M-ES): 100 pg/µL SAMPLING SPIKE (P48-SS): 10 pg/µL RECOVERY SPIKE (P48-RS): 10 pg/µL
	P48-M-CS5 fiala da 500 µL / NATIVE MARKER PCB CONGENERS (P48-M): 5000 pg/µL MARKER PCB EXTRACTION SPIKE (P48-M-ES): 100 pg/µL SAMPLING SPIKE (P48-SS): 10 pg/µL RECOVERY SPIKE (P48-RS): 10 pg/µL
	NATIVE MARKER PCB CONGENERS (P48-M)
	2,4,4'-Trichlorobiphenyl
	2,2',5,5'-Tetrachlorobiphenyl
	2,2',4,5,5'-Pentachlorobiphenyl
	2,2',3,4,4',5'-Hexachlorobiphenyl
	2,2',4,4',5,5'-Hexachlorobiphenyl
	2,2',3,4,4',5,5'-Heptachlorobiphenyl
	MARKER PCB EXTRACTION SPIKE (P48-M-ES)
	2,4,4'-Trichloro[13C12]biphenyl
	2,2',5,5'-Tetrachloro[13C12]biphenyl
	2,2',4,5,5'-Pentachloro[13C12]biphenyl
	2,2',3,4,4',5'-Hexachloro[13C12]biphenyl
	2,2',4,4',5,5'-Hexachloro[13C12]biphenyl
	2,2',3,4,4',5,5'-Heptachloro[13C12]biphenyl
	SAMPLING SPIKE (P48-SS)
	2,3,4,4'-Tetrachloro[13C12]biphenyl
	3,3',4,5,5'-Pentachloro[13C12]biphenyl
	2,3,3',4,5,5'-Hexachloro[13C12]biphenyl
	RECOVERY SPIKE (P48-RS)
	2,3',4',5-Tetrachloro[13C12]biphenyl
	2,3,3',5,5'-Pentachloro[13C12]biphenyl
	2,2',3,3',4,4',5-Heptachloro[13C12]biphenyl

12.8	EN 1948 - 4:2010 HRGC/HRMS Calibration solution for the Marker PCBs, in nonano	1 fiala da 500 uL	WELP48-M-CS0.1	€ 280,00	2	L Microinq.org.					€ 0,00	€ 0,00
	NATIVE MARKER PCB CONGENERS
	2,4,4'-Trichlorobiphenyl 0.1 pg/µl
	2,2',5,5'-Tetrachlorobiphenyl 0.1 pg/µl
	2,2',4,5,5'-Pentachlorobiphenyl 0.1 pg/µl
	2,2',3,4,4',5'-Hexachlorobiphenyl 0.1 pg/µl
	2,2',4,4',5,5'-Hexachlorobiphenyl 0.1 pg/µl
	2,2',3,4,4',5,5'-Heptachlorobiphenyl 0.1 pg/µl
	MARKER PCB EXTRACTION SPIKE (P48-M-ES)
	2,4,4'-Trichloro[13C12]biphenyl 100 pg/µl
	2,2',5,5'-Tetrachloro[13C12]biphenyl 100 pg/µl
	2,2',4,5,5'-Pentachloro[13C12]biphenyl 100 pg/µl
	2,2',3,4,4',5'-Hexachloro[13C12]biphenyl 100 pg/µl
	2,2',4,4',5,5'-Hexachloro[13C12]biphenyl 100 pg/µl
	2,2',3,4,4',5,5'-Heptachloro[13C12]biphenyl 100 pg/µl
	SAMPLING SPIKE (P48-SS)
	2,3,4,4'-Tetrachloro[13C12]biphenyl 10 pg/µl
	3,3',4,5,5'-Pentachloro[13C12]biphenyl 10 pg/µl
	2,3,3',4,5,5'-Hexachloro[13C12]biphenyl 10 pg/µl
	RECOVERY SPIKE (P48-RS)
	2,3',4',5-Tetrachloro[13C12]biphenyl 10 pg/µl
	2,3,3',5,5'-Pentachloro[13C12]biphenyl 10 pg/µl
	2,2',3,3',4,4',5-Heptachloro[13C12]biphenyl 10 pg/µl

12.9	EN 1948 - 4:2010 HRGC/HRMS Calibration solution for the Marker PCBs, in nonano	1 fiala da 500 uL	WELP48-M-CS2	€ 280,00	2	L Microinq.org.					€ 0,00	€ 0,00
	NATIVE MARKER PCB CONGENERS
	2,4,4'-Trichlorobiphenyl 10 pg/µl
	2,2',5,5'-Tetrachlorobiphenyl 10 pg/µl
	2,2',4,5,5'-Pentachlorobiphenyl 10 pg/µl
	2,2',3,4,4',5'-Hexachlorobiphenyl 10 pg/µl
	2,2',4,4',5,5'-Hexachlorobiphenyl 10 pg/µl
	2,2',3,4,4',5,5'-Heptachlorobiphenyl 10 pg/µl
	MARKER PCB EXTRACTION SPIKE (P48-M-ES)
	2,4,4'-Trichloro[13C12]biphenyl 100 pg/µl
	2,2',5,5'-Tetrachloro[13C12]biphenyl 100 pg/µl
	2,2',4,5,5'-Pentachloro[13C12]biphenyl 100 pg/µl
	2,2',3,4,4',5'-Hexachloro[13C12]biphenyl 100 pg/µl
	2,2',4,4',5,5'-Hexachloro[13C12]biphenyl 100 pg/µl
	2,2',3,4,4',5,5'-Heptachloro[13C12]biphenyl 100 pg/µl
	SAMPLING SPIKE (P48-SS)
	2,3,4,4'-Tetrachloro[13C12]biphenyl 10 pg/µl
	3,3',4,5,5'-Pentachloro[13C12]biphenyl 10 pg/µl
	2,3,3',4,5,5'-Hexachloro[13C12]biphenyl 10 pg/µl
	RECOVERY SPIKE (P48-RS)
	2,3',4',5-Tetrachloro[13C12]biphenyl 10 pg/µl
	2,3,3',5,5'-Pentachloro[13C12]biphenyl 10 pg/µl
	2,2',3,3',4,4',5-Heptachloro[13C12]biphenyl 10 pg/µl

12.10	Materiale di riferimento per retta di taratura PCBs WHO nonane-0.74-9.38% toluene / (EN 1948 - 4:2010 HRGC/HRMS calibration solution for the Dioxin-Like (WHO) PCBs)	6 fiale da 500 µL	WELP48-W-CVS	€ 2.150,00	1	L Microinq.org.					€ 0,00	€ 0,00
	P48-W-CS1 fiala da 500 µL / NATIVE DIOXIN-LIKE PCB CONGENERS: 0.1 & 0.6 pg/µl / WHO PCB EXTRACTION SPIKE (P48-W-ES): 10 pg/µl / SAMPLING SPIKE (P48-SS): 10 pg/µl / RECOVERY SPIKE (P48-RS): 10 pg/µl
	P48-W-CS2 fiala da 500 µL / NATIVE DIOXIN-LIKE PCB CONGENERS: 1 & 6 pg/µl / WHO PCB EXTRACTION SPIKE (P48-W-ES): 10 pg/µl / SAMPLING SPIKE (P48-SS): 10 pg/µl / RECOVERY SPIKE (P48-RS): 10 pg/µl
	P48-W-CS3 fiala da 500 µL / NATIVE DIOXIN-LIKE PCB CONGENERS: 10 & 60 pg/µl / WHO PCB EXTRACTION SPIKE (P48-W-ES): 10 pg/µl / SAMPLING SPIKE (P48-SS): 10 pg/µl / RECOVERY SPIKE (P48-RS): 10 pg/µl
	P48-W-CS4 fiala da 500 µL / NATIVE DIOXIN-LIKE PCB CONGENERS: 50 & 300 pg/µl / WHO PCB EXTRACTION SPIKE (P48-W-ES): 10 pg/µl / SAMPLING SPIKE (P48-SS): 10 pg/µl / RECOVERY SPIKE (P48-RS): 10 pg/µl
	P48-W-CS5 fiala da 500 µL / NATIVE DIOXIN-LIKE PCB CONGENERS: 200 & 1200 pg/µl / WHO PCB EXTRACTION SPIKE (P48-W-ES): 10 pg/µl / SAMPLING SPIKE (P48-SS): 10 pg/µl / RECOVERY SPIKE (P48-RS): 10 pg/µl
	P48-W-CS6 fiala da 500 µL / NATIVE DIOXIN-LIKE PCB CONGENERS: 800 & 4800 pg/µl / WHO PCB EXTRACTION SPIKE (P48-W-ES): 10 pg/µl / SAMPLING SPIKE (P48-SS): 10 pg/µl / RECOVERY SPIKE (P48-RS): 10 pg/µl

	NATIVE DIOXIN-LIKE PCB CONGENERS
	3,3',4,4'-Tetrachlorobiphenyl
	3,4,4',5-Tetrachlorobiphenyl
	2,3,3',4,4'-Pentachlorobiphenyl
	2,3,4,4',5-Pentachlorobiphenyl
	2,3',4,4',5-Pentachlorobiphenyl
	2',3,4,4',5-Pentachlorobiphenyl
	3,3',4,4',5-Pentachlorobiphenyl
	2,3,3',4,4',5-Hexachlorobiphenyl
	2,3,3',4,4',5'-Hexachlorobiphenyl
	2,3',4,4',5,5'-Hexachlorobiphenyl
	3,3',4,4',5,5'-Hexachlorobiphenyl
	2,3,3',4,4',5,5'-Heptachlorobiphenyl
	WHO PCB EXTRACTION SPIKE (P48-W-ES)
	3,3',4,4'-Tetrachloro[13C12]biphenyl
	3,4,4',5-Tetrachloro[13C12]biphenyl
	2,3,3',4,4'-Pentachloro[13C12]biphenyl
	2,3,4,4',5-Pentachloro[13C12]biphenyl
	2,3',4,4',5-Pentachloro[13C12]biphenyl
	2',3,4,4',5-Pentachloro[13C12]biphenyl
	3,3',4,4',5-Pentachloro[13C12]biphenyl
	2,3,3',4,4',5-Hexachloro[13C12]biphenyl
	2,3,3',4,4',5'-Hexachloro[13C12]biphenyl
	2,3',4,4',5,5'-Hexachloro[13C12]biphenyl
	3,3',4,4',5,5'-Hexachloro[13C12]biphenyl
	2,3,3',4,4',5,5'-Heptachloro[13C12]biphenyl
	SAMPLING SPIKE (P48-SS)
	2,3,4,4'-Tetrachloro[13C12]biphenyl
	3,3',4,5,5'-Pentachloro[13C12]biphenyl
	2,3,3',4,5,5'-Hexachloro[13C12]biphenyl
	RECOVERY SPIKE (P48-RS)
	2,3',4',5-Tetrachloro[13C12]biphenyl
	2,3,3',5,5'-Pentachloro[13C12]biphenyl
	2,2',3,3',4,4',5-Heptachloro[13C12]biphenyl

12.11	Individual calibration solution	1 fiala da 500 uL	WELP48-W-CS1	€ 470,00	2	L Microinq.org.					€ 0,00	€ 0,00
	NATIVE DIOXIN-LIKE PCB CONGENERS
	3,3',4,4'-Tetrachlorobiphenyl 0.1 pg/µl
	3,4,4',5-Tetrachlorobiphenyl 0.1 pg/µl
	2,3,3',4,4'-Pentachlorobiphenyl 0.1 pg/µl
	2,3,4,4',5-Pentachlorobiphenyl 0.1 pg/µl
	2,3',4,4',5-Pentachlorobiphenyl 0.6 pg/µl
	2',3,4,4',5-Pentachlorobiphenyl 0.1 pg/µl
	3,3',4,4',5-Pentachlorobiphenyl 0.1 pg/µl
	2,3,3',4,4',5-Hexachlorobiphenyl 0.1 pg/µl
	2,3,3',4,4',5'-Hexachlorobiphenyl 0.1 pg/µl
	2,3',4,4',5,5'-Hexachlorobiphenyl 0.1 pg/µl
	3,3',4,4',5,5'-Hexachlorobiphenyl 0.1 pg/µl
	2,3,3',4,4',5,5'-Heptachlorobiphenyl 0.1 pg/µl
	WHO PCB EXTRACTION SPIKE (P48-W-ES)
	3,3',4,4'-Tetrachloro[13C12]biphenyl 10 pg/µl
	3,4,4',5-Tetrachloro[13C12]biphenyl 10 pg/µl
	2,3,3',4,4'-Pentachloro[13C12]biphenyl 10 pg/µl
	2,3,4,4',5-Pentachloro[13C12]biphenyl 10 pg/µl
	2,3',4,4',5-Pentachloro[13C12]biphenyl 10 pg/µl
	2',3,4,4',5-Pentachloro[13C12]biphenyl 10 pg/µl
	3,3',4,4',5-Pentachloro[13C12]biphenyl 10 pg/µl
	2,3,3',4,4',5-Hexachloro[13C12]biphenyl 10 pg/µl
	2,3,3',4,4',5'-Hexachloro[13C12]biphenyl 10 pg/µl
	2,3',4,4',5,5'-Hexachloro[13C12]biphenyl 10 pg/µl
	3,3',4,4',5,5'-Hexachloro[13C12]biphenyl 10 pg/µl
	2,3,3',4,4',5,5'-Heptachloro[13C12]biphenyl 10 pg/µl
	SAMPLING SPIKE (P48-SS)
	2,3,4,4'-Tetrachloro[13C12]biphenyl 10 pg/µl
	3,3',4,5,5'-Pentachloro[13C12]biphenyl 10 pg/µl
	2,3,3',4,5,5'-Hexachloro[13C12]biphenyl 10 pg/µl
	RECOVERY SPIKE (P48-RS)
	2,3',4',5-Tetrachloro[13C12]biphenyl 10 pg/µl
	2,3,3',5,5'-Pentachloro[13C12]biphenyl 10 pg/µl
	2,2',3,3',4,4',5-Heptachloro[13C12]biphenyl 10 pg/µl

12.12	Individual calibration solution	1 fiala da 500 uL	WELP48-W-CS3	€ 470,00	2	L Microinq.org.					€ 0,00	€ 0,00
	NATIVE DIOXIN-LIKE PCB CONGENERS
	3,3',4,4'-Tetrachlorobiphenyl 10 pg/µl
	3,4,4',5-Tetrachlorobiphenyl 10 pg/µl
	2,3,3',4,4'-Pentachlorobiphenyl 10 pg/µl
	2,3,4,4',5-Pentachlorobiphenyl 10 pg/µl
	2,3',4,4',5-Pentachlorobiphenyl 60 pg/µl
	2',3,4,4',5-Pentachlorobiphenyl 10 pg/µl
	3,3',4,4',5-Pentachlorobiphenyl 10 pg/µl
	2,3,3',4,4',5-Hexachlorobiphenyl 10 pg/µl
	2,3,3',4,4',5'-Hexachlorobiphenyl 10 pg/µl
	2,3',4,4',5,5'-Hexachlorobiphenyl 10 pg/µl
	3,3',4,4',5,5'-Hexachlorobiphenyl 10 pg/µl
	2,3,3',4,4',5,5'-Heptachlorobiphenyl 10 pg/µl
	WHO PCB EXTRACTION SPIKE (P48-W-ES)
	3,3',4,4'-Tetrachloro[13C12]biphenyl 10 pg/µl
	3,4,4',5-Tetrachloro[13C12]biphenyl 10 pg/µl
	2,3,3',4,4'-Pentachloro[13C12]biphenyl 10 pg/µl
	2,3,4,4',5-Pentachloro[13C12]biphenyl 10 pg/µl
	2,3',4,4',5-Pentachloro[13C12]biphenyl 10 pg/µl
	2',3,4,4',5-Pentachloro[13C12]biphenyl 10 pg/µl
	3,3',4,4',5-Pentachloro[13C12]biphenyl 10 pg/µl
	2,3,3',4,4',5-Hexachloro[13C12]biphenyl 10 pg/µl
	2,3,3',4,4',5'-Hexachloro[13C12]biphenyl 10 pg/µl
	2,3',4,4',5,5'-Hexachloro[13C12]biphenyl 10 pg/µl
	3,3',4,4',5,5'-Hexachloro[13C12]biphenyl 10 pg/µl
	2,3,3',4,4',5,5'-Heptachloro[13C12]biphenyl 10 pg/µl
	SAMPLING SPIKE (P48-SS)
	2,3,4,4'-Tetrachloro[13C12]biphenyl 10 pg/µl
	3,3',4,5,5'-Pentachloro[13C12]biphenyl 10 pg/µl
	2,3,3',4,5,5'-Hexachloro[13C12]biphenyl 10 pg/µl
	RECOVERY SPIKE (P48-RS)
	2,3',4',5-Tetrachloro[13C12]biphenyl 10 pg/µl
	2,3,3',5,5'-Pentachloro[13C12]biphenyl 10 pg/µl
	2,2',3,3',4,4',5-Heptachloro[13C12]biphenyl 10 pg/µl

					TOTALE PREVENTIVO		€ 0,00